## WaterPerPers
Country | Total water [liter/d/per] | Source / Assumption total water | Hot water in total water [%] | Hot water [liter/d/per] | Source / Assumption hot water
Belgium | 120 | [1] | 36 | 43.2 | A1
Bulgaria | 100 | [3] | 32.4 | 32.4 | A1, A3
Czechia | 87 | [3] | 36 | 31.32 | A1
Denmark | 101 | [5] | - | 41 | [6]
Germany | 127 | [1] | - | 46 | [2]
Estonia | 113 | A2 | 39.6 | 44.748 | A1, A3
Ireland | 113 | A2 | 36 | 40.68 | A1
Greece | 140 | [1] | 32.4 | 45.36 | A1, A3
Spain | 145 | [1], F1 | 32.4 | 46.98 | A1, A3
France | 156 | [1] | 36 | 56.16 | A1
Croatia | 113 | [3] | 32.4 | 36.612 | A1, A3
Italy | 213 | [1] | 32.4 | 60 | A5
Cyprus | 113 | A2 | 32.4 | 36.612 | A1, A3
Latvia | 113 | A2 | 39.6 | 44.748 | A1, A3
Lithuania | 113 | A2 | 39.6 | 44.748 | A1, A3
Luxembourg | 170 | [1] | 33.3333 | 56.6667 | [7]
Hungary | 107 | [1] | 36 | 38.52 | A1
Malta | 113 | A2 | 32.4 | 36.612 | A1, A3
Netherlands | 130 | [1] | - | 60 | [4]
Austria | 162 | [1] | 36 | 58.32 | A1
Poland | 158 | [1] | - | 43.3 | [8]
Portugal | 113 | A2 | 32.4 | 36.612 | A1, A3
Romania | 136 | [3] | 36 | 48.96 | A1
Slovenia | 114 | A2 | 36 | 41.04 | A1
Slovakia | 81 | A2 | 36 | 29.16 | A1
Finland | 145 | [1] | - | 47.3 | [8,9]
Sweden | 197 | [1] | - | 54.835 | [8], Space_Heating.xlsx
United Kingdom | 149 | [1] | 36 | 53.64 | A1
Iceland | 113 | A2 | 36 | 40.68 | A1
Norway | 260 | [1] | 39.6 | 60 | A5
Switzerland | 237 | [1] | - | 40 | [10]
Montenegro | 237 | [3] | 32.4 | 76.788 | A1, A3
North Macedonia | 158 | [3] | 32.4 | 51.192 | A1, A3
Serbia | 203 | [3] | - | 50 | A4
Albania | 95 | [3] | 36 | 34.2 | A1
Bosnia and Herzegovina | 168 | [3] | 36 | 60.48 | A1
Moldova | 237 | [3] | 36 | 85.32 | A1
Ukraine | 115 | [3] | 36 | 41.4 | A1
Source: | [1] | other countries | https://www.blikk.it/angebote/primarmathe/kma0423b.htm
| [2] | Germany | https://www.co2online.de/energie-sparen/heizenergie-sparen/warmwasser/durchschnittlicher-wasserverbrauch/
| [3] | if not in [1] | https://sos.danubis.org/eng/country-notes/
| [4] | Netherlands | https://www.rehva.eu/rehva-journal/chapter/water-and-energy-nexus-at-the-building-level
| [5] | Denmark | https://www.eureau.org/resources/publications/members-reports/5482-danva-2020-water-in-figures/file
| [6] | Denmark hot water | https://build.dk/Assets/Varmt-Brugsvand/sbi-2009-10-pdf.pdf
| [7] | Luxemborg | https://www.vdl.lu/en/city/get-involved/save-water
| [8] | Finnland, Poland, Sweden | https://www.mdpi.com/1996-1073/14/16/5010
| [9] | Finnland | https://www.sciencedirect.com/science/article/abs/pii/S0378778817308241
| [10] | Switzerland | https://www.fws.ch/wp-content/uploads/2018/10/Market_Overview_Country_Report_Switzerland_Annex_46_DHWHP_Task1.pdf
Assumption: | A1 | Warmwater consumption = 36% of total water | https://www.co2online.de/energie-sparen/heizenergie-sparen/warmwasser/durchschnittlicher-wasserverbrauch/
|  | Warmwater consumption = 36% of total water | https://www.rehva.eu/rehva-journal/chapter/water-and-energy-nexus-at-the-building-level
| A2 | EU MS average = 113l total (cold) water | https://sos.danubis.org/eng/country-notes/slovenia/
| A3 | Based on heating and cooling degree days, hot water consumption reduced or enhanced for 10%. Extended for ME, RS, MK | Cooling and heating degree days by country - annual data [NRG_CHDD_A]
| A4 | Based on average used for calculation of energy demand | https://www.eevrbas.org/korisni-saveti/31-priprema-potrosne-tople-vode
| A5 | Own assumption due to high difference with energy consumption and in comparison to other European countries
Further Info | F1 | Spain | https://www.researchgate.net/publication/307705545_A_New_System_for_Households_in_Spain_to_Evaluate_and_Reduce_Their_Water_Consumption
Marks |  | Based on heating degree days, hot water consumption reduced
Based on cooling degree days, hot water consumption enhanced
Exact value found

## TechnData
Parameter | Value | Unit | Source / Assumption
Specific capacity | 1.1639 | kWh/m^3*K | [1]
Outlet temperature | 55 | °C | [2]
Inlet temperature all | 12 | °C | [3]
Inlet temperature France | 17.5 | °C | [4]
Inlet temperature Spain | 19.5 | °C | [4]
Inlet temperature Italy | 15.3125 | °C | [4]
Inlet temperature Netherlands | 14.5 | °C | [4]
Inlet temperature Serbia | 11.5 | °C | [4]
Inlet temperature United Kingdom | 15 | °C | [4]
Inlet temperature Czechia | 13 | °C | [4]
Source: | [1] | Specific capacity |  | https://www.bmwi.de/Redaktion/DE/Downloads/Studien/umsetzung-verfahren-ermittlung-energieverbrauch-nicht-amtliche-statisik-langfassung.pdf?__blob=publicationFile&v=7
| [2] | Flow temperature | hygienic limit 55 to 60 °C | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC2094925/
| [3] | cold water inlet temperature |  | https://www.bmwi.de/Redaktion/DE/Downloads/Studien/umsetzung-verfahren-ermittlung-energieverbrauch-nicht-amtliche-statisik-langfassung.pdf?__blob=publicationFile&v=7
| [4] | cold water inlet temperature |  | https://www.mdpi.com/2073-4441/12/4/1049

## Calibration
Country | Calibration parameter [-]
Belgium | 1.2316 | 1.2401
Bulgaria | 1.1005 | 1.1114
Czechia | 2.4199 | 2.3962
Denmark | 2.5965 | 2.5871
Germany | 1.5289 | 1.5222
Ireland | 1.6795 | 1.6592
Greece | 0.73414 | 0.83244
Spain | 0.86915 | 0.93657
France | 0.88806 | 0.88344
Croatia | 0.96116 | 0.97827
Italy | 0.66091 | 0.65735
Latvia | 1.6078 | 1.6065
Luxembourg | 0.69388 | 0.69949
Hungary | 1.2688 | 1.2663
Netherlands | 1.0787 | 1.0797
Austria | 1.1396 | 1.1411
Poland | 1.2191 | 1.2335
Portugal | 0.79415 | 0.83153
Romania | 0.68256 | 0.68728
Slovenia | 1.2425 | 1.2575
Slovakia | 1.1814 | 1.1769
Finland | 2.0522 | 2.069
Sweden | 1.1884 | 1.1884
United Kingdom | 1.2238 | 1.2614
Norway | 0.68945 | 0.69512
Switzerland | 1.7251 | 1.7326
Montenegro | 0.79248 | 0.80349
North Macedonia | 0.35516 | 0.36094
Albania | 1 | 1
Serbia | 0.68342 | 0.73037
Bosnia and Herzegovina | 1 | 1
Iceland | 1 | 1
Lithuania | 0.64321 | 0.65408
Estonia | 1.1566 | 1.1493